MNE300ROSIE-240P

| Model | Price | MAPP Price | Size | Shipping | Weight |
| --- | --- | --- | --- | --- | --- |
| MNE300ROSIE-240P | $890.00 | $667.50 | 13-13/16"L X 8-1/4"D X 13-15/16"W | 20-1/8"L X 11-1/2"D X 17-3/4"W - 22 Lbs | 17.5 Lbs Lbs |

DOCUMENTS

WEBINAR/VIDEOS

PHOTO DOWNLOAD

DESCRIPTION:

The Rosie E-Panel Is An AC And DC Enclosure Offering Over-Current Protection (OCP) And Disconnects For AC IN, AC OUT, And To The Battery Bank.

The Rosie E-Panel Is An AC And DC Enclosure Offering Over-Current Protection (OCP) And Disconnects For AC IN, AC OUT, And To The Battery Bank. The E-Panel Is Designed Specifically For The MidNite Solar MNROSIE7048 Inverter/Charger But May Be Used With Any 120/240VAC Inverter At 60A AC IN And OUT And 65VDC/100A Out.

Standard Features Include:

- Terminal Block To Attach Optional MidNite Solar Surge Protection Devices

- Styled To Match The MNROSIE7048 Inverter/Charger

- 80VDC, 300A, Battery Positive Circuit Breaker

- 60A AC IN And AC OUT Circuit Breakers

- 60A AC Bypass Circuit

- Breaker Assembly

- Optional Backplate For Mounting

- Ground Busbar

- Listed To UL1741

ACCESSORIES

MNROSIE BACKPLATE - $150.00

MNROSIE7048RE - $4,350.00