MNPV4-MC4

| Model | Price | Size | Shipping | Weight |
| --- | --- | --- | --- | --- |
| MNPV4-MC4 | $396.00 | 13.5"L X 8"W X 3.5"D | 11"L X 5"W X 4"D | 5 Lbs |

DOCUMENTS

WEBINAR/VIDEOS

PHOTO DOWNLOAD

DESCRIPTION:

This 3R Pre-Wired MNPV4 Combiner Is Rated For Outdoor Use. Designed For Combining High Voltage Strings Using Standard 10mm X 38mm Fuses Up To 80 Amps Total.

The Pre-Wired MNPV4 Combiner Is Rated For Outdoor Use. Designed For Combining High Voltage Strings Using 10mm X 38mm Fuses Up To 80 Amps Total. The Use Of Touch Safe Din Rail Mount Fuse Holders ( MNTS) And Fuses Allow Operation Up To 600 Volts. The MNPV4 Is Rated For Up To 80 Amps.

INCLUDED FEATURES

- Type 1 Environmental Rating

- Fast, Convenient Hook Up With Industry Standard Connectors

- All Aluminum Powder Coated Housing That Won't Rust

- Flip Up Cover That Can Stay In The Open Position During Installation

- PV Negative Bus Bar With #6 And 1/0 Connections

- Chassis Ground Bus Bar With #6 And 1/0 Connections

- Standard DIN Rail With (X) 30 Amp Touch Safe Fuse Holders. 15 Amp Fuses Included

- Tin Plated Copper Bus Bar That Connect PV Plus Outputs

- Dead Front Cover (MNPV6DF) Snaps Into Place After Wiring Is Complete For Safety

- Connectors For PV In And PV Out On Bottom, Additional Knockouts On Bottom And Sides

- Top Surface Is Available To Bring Conduit In From Directly Above The Enclosure

Pre-Wired Ad

- Warranty - 5 Yrs.

- Listed By ETL For US & Canada

- Made In The USA

California Residents: Warning

ACCESSORIES

MNSPD-600 - $135.00

The MidNite Solar 600V Surge Protector Device (MNSPD) Is A Type 1 Device Per UL1449 Rev3 And Has An Outdoor Rating Of 4X For Outdoor Use. Protection For Grid-Tie PV Combiners And Inverter Input Circuits.