MNPV6-MC4-LV-SPD300

| Model | Price | Weight |
| --- | --- | --- |
| MNPV6-MC4-LV-SPD300 | $632.00 | 7 Lbs |

DESCRIPTION:

This 3R Pre-Wired MNPV6-MC4-LV-SPD300 Combiner Is Rated For Outdoor Use.

The Pre-Wired MNPV6-MC4-LV Combiner With Pigtails And 15A Breakers Is Rated For Outdoor Use. The MNPV6-MC4-LV Is Rated For Up To 80A 150V.

- Type 1 Environmental Rating

- Fast, Convenient Hook Up With Industry Standard Connectors

- All Aluminum Powder Coated Housing That Won't Rust

- Flip Up Cover That Can Stay In The Open Position During Installation

- PV Negative Bus Bar With #6 And 1/0 Connections

- Chassis Ground Bus Bar With #6 And 1/0 Connections

- The Included MNSPD-300-DC Is Pre-Wired And Installed For Convenience

- Included Dead Front Cover (MNPV6DF) Snaps Into Place After Wiring Is Complete For Safety

- Additional Knockouts On Bottom And Sides

- Warranty - 5 Yrs.

- Listed By ETL For US & Canada

- Made In The USA

California Residents: Warning

ACCESSORIES

MNBIGBABY - $71.00

General Use Enclosure - Holds Up To 4 13mm Wide Din Rail Breakers From 1-63 Amps.

MNEDCQUAD - $92.00

General Use Aluminum Enclosure For 4 Panel Mount Type Breakers From 5 - 100 Amp.

MNDC-GFP63 - $88.00

63 Amp 150VDC Din Rail Mount DC Ground Fault Protector (NRTL Listed Breaker Assy).

NEC2008 Requires DC-GFPâ€™S On All Solar Installations.